Saving a Full Text Data File on the Macromizers

E. Lanni	6.26.08

- Collect data and save to server database as usual.

- In the Data Processing application/window, open data file with “select submeasurement.”

- Filter and smooth spectrum as needed.

- Click “Export CSV,” name the file, and save it at the desired location.  This will be a text file consisting of a header followed by semicolon-separated raw data in the format [signal];[TOF];[mass].  For a header-free version, use “Export Small CSV” instead.

Importing & Reformatting a Full Data File in MS Excel

- Open the saved CSV file in Excel.  All data will appear in a single column.

- In the Data menu, select “Text to Columns…”

- Specify Delimited data type, then hit Next.

- Select Semicolon as the delimiter.  You should see the preview at the bottom of the window parse into three columns.  Hit Next.

- Make any additional format changes on the final screen, then click Finish.  The spreadsheet will reformat to useable data.